## Export pos
# | Name | Formula | Include | Mass (Da) | Found At Mass (Da) | Control Found At Mass (Da) | Width (Da) | Adduct | Expected RT (min) | RT Width (min) | Found At RT (min) | Control Found At RT (min) | Library Score | Library Hit | Formula Finder Result | Intensity | Control Intensity | Known Concentration | Calculated Concentration | Area | Control Area | Isotope | Threshold (cps) | Threshold (ratio of control) | Formula Finder Score | Int Std | Combined Score | Mass Error Score | RT Score | Isotope Score | Non-Targeted Peak | S:N | Fragment Mass (Da) | Comments | Extraction Mass (Da) | Error (ppm) | Control Error (ppm) | Error (mDa) | Control Error (mDa) | RT Delta (min) | Control RT Delta (min) | RT % Error | Control RT % Error | MS/MS Sheet
29 | Amantadin | C10H17N | True | 151.1361 | 152.1433 |  | 0.005 | +H | 5 | 0.8 | 5.0806 |  | -1 |  | C10H17N | 134200.4101 |  | 5 |  | 7275.6873 |  | 0 | 50 | 0 | 0.8582 | False | 0.92999 | 0.9276 | 0.8389 | 0.99471 | False | 261.7771 |  | 797 | 152.1434 | -0.72401 |  | -0.11015 |  | 0.080551 |  | 0.01611 |  | pos_29_Amantadin
85 | Simeton | C8H15N5O1 | True | 197.1277 | 198.1351 |  | 0.005 | +H | 5.5 | 0.5 | 5.4804 |  | -1 |  | C8H15N5O | 619454.8203 |  | 5 |  | 45084.8376 |  | 0 | 50 | 0 | 0.77132 | False | 0.92951 | 0.92922 | 0.96434 | 0.90676 | False | 342.7118 |  | 203 | 198.1349 | 0.70779 |  | 0.14024 |  | 0.019613 |  | 0.0035661 |  | pos_85_Simeton
86 | Atrazine-2-hydroxy | C8H15N5O | True | 197.1277 | 198.1351 |  | 0.005 | +H | 4.9 | 0.8 | 4.9837 |  | -1 |  | C8H15N5O | 490171.5232 |  | 5 |  | 24601.9745 |  | 0 | 50 | 0 | 0.74167 | False | 0.89986 | 0.89946 | 0.82924 | 0.9476 | False | 403.9969 |  | 281 | 198.1349 | 1.0054 |  | 0.19921 |  | 0.083674 |  | 0.017076 |  | pos_86_Atrazin-2-hydroxy
91 | Desethylterbutylazin | C7H12ClN5 | True | 201.0781 | 202.086 |  | 0.005 | +H | 8.6 | 0.2 | 8.534 |  | -1 |  | C7H12ClN5 | 247770.4201 |  | 5 |  | 9047.6123 |  | 0 | 50 | 0 | 0.42651 | False | 0.81717 | 0.70461 | 0.92324 | 0.93406 | False | 38.5914 |  | 16 | 202.0854 | 2.9539 |  | 0.59693 |  | 0.066013 |  | 0.007676 |  | pos_91_Desethylterbutylazin

## calibration
substance name | rt1 | logD
Metformin | 1.29 | -0.92
Chloridazon | 6.46 | 1.11
Carbetamide | 7.85 | 1.65
Monuron | 8.3 | 1.93
Chlorbromuron | 11.7 | 2.85
Metconazole | 12.7 | 3.59
Diazinon | 14.19 | 4.19
Quinoxyfen | 15 | 4.98
Fenofibrate | 15.94 | 5.28
Metobromuron | 10.26 | 2.24
Dapson | 6.33 | 1.27
Linuron | 11.42 | 2.3

## txt files pos
MS/MS .txt-File | Found At Mass (Da) | Found At RT (min) | Formula Finder Result
pos_29_Amantadin | 152.1433 | 5.0806 | C10H17N
pos_85_Simeton | 198.1351 | 5.4804 | C8H15N5O
pos_86_Atrazine-2-hydroxy | 198.1351 | 4.9837 | C8H15N5O
pos_91_Desethylterbutylazin | 202.086 | 8.534 | C7H12ClN5

## Bsp-MSMS
Mass/Charge | Area | Height | Width | Width at 50% | Resolution | Charge | Monoisotopic | Mass (charge) | Mass/charge (charge) | Height normiert
43.0309 | 1.9984 | 477 | 0.012962 | 0.0028722 | 14982.0765 | 0 | Yes | *42.0230 | *43.0309 | 10.6999
69.0089 | 13.983 | 2699 | 0.021104 | 0.0045308 | 15231.0579 | 0 | Yes | *68.0010 | *69.0089 | 60.5428
71.0606 | 1.8673 | 358 | 0.013087 | 0.0042291 | 16802.6802 | 0 | Yes | *70.0527 | *71.0606 | 8.0305
86.0349 | 18.7475 | 3409 | 0.020946 | 0.0048945 | 17577.8411 | 0 | Yes | *85.0270 | *86.0349 | 76.4693
97.0395 | 9.0835 | 1681 | 0.019464 | 0.0041738 | 23249.456 | 0 | Yes | *96.0316 | *97.0395 | 37.7075
113.0808 | 1.0063 | 226 | 0.012007 | 0.0039481 | 28641.5354 | 0 | Yes | *112.0729 | *113.0808 | 5.0695
114.0657 | 17.7278 | 2945 | 0.02261 | 0.005297 | 21534.0874 | 0 | Yes | *113.0579 | *114.0657 | 66.061
128.056 | 1.8894 | 263 | 0.015971 | 0.0066501 | 19256.2963 | 0 | Yes | *127.0482 | *128.0560 | 5.8995
128.0817 | 1.642 | 223 | 0.020765 | 0.006389 | 20047.0916 | 0 | Yes | *127.0739 | *128.0817 | 5.0022
156.0877 | 29.0806 | 4458 | 0.031739 | 0.0058344 | 26753.0134 | 0 | Yes | *155.0799 | *156.0877 | 100
198.1343 | 15.0367 | 1759 | 0.041719 | 0.007149 | 27714.9118 | 0 | Yes | *197.1265 | *198.1343 | 39.4572
diese müssten noch aus den intensivsten Massepeak normiert werden, falls MetFrag so nichts damit anfangen kann.
Beispiel siehe Spate L

## pos_29_Amantadin
Mass/Charge | Area | Height | Width | Width at 50% | Resolution | Charge | Monoisotopic | Mass (charge) | Mass/charge (charge)
67.0546 | 1.9069 | 361 | 0.012713 | 0.0046988 | 14270.7204 | 0 | Yes | *66.0468 | *67.0546
77.0389 | 6.7209 | 1240 | 0.014865 | 0.0049415 | 15590.0941 | 1 | Yes | *76.0311 (1) | *77.0389 (1)
79.0543 | 7.7676 | 1492 | 0.015059 | 0.0049669 | 15916.2052 | 0 | Yes | *78.0465 | *79.0543
81.07 | 2.9621 | 552 | 0.01652 | 0.0051179 | 15840.62 | 0 | Yes | *80.0622 | *81.0700
91.054 | 4.8644 | 842 | 0.020201 | 0.0050417 | 18060.2196 | 1 | Yes | *90.0462 (1) | *91.0540 (1)
93.0698 | 11.1635 | 1875 | 0.017701 | 0.0055822 | 16672.7221 | 1 | Yes | *92.0620 (1) | *93.0698 (1)
107.0852 | 7.374 | 1026 | 0.018986 | 0.006661 | 16076.4616 | 0 | Yes | *106.0773 | *107.0852
135.1166 | 41.5665 | 6993 | 0.02789 | 0.0053969 | 25036.0828 | 0 | Yes | *134.1087 | *135.1166

## pos_85_Simeton
Mass/Charge | Area | Height | Width | Width at 50% | Resolution | Charge | Monoisotopic | Mass (charge) | Mass/charge (charge)
43.0314 | 4.7416 | 762 | 0.01574 | 0.0063664 | 6759.1161 | 0 | Yes | *42.0235 | *43.0314
57.0455 | 4.144 | 793 | 0.01599 | 0.0040834 | 13970.0436 | 0 | Yes | *56.0376 | *57.0455
58.0297 | 2.4921 | 428 | 0.011827 | 0.0058181 | 9973.9461 | 0 | Yes | *57.0219 | *58.0297
68.0247 | 12.8824 | 2534 | 0.022117 | 0.00441 | 15425.126 | 0 | Yes | *67.0168 | *68.0247
69.0082 | 3.7101 | 769 | 0.014069 | 0.0041585 | 16594.5984 | 0 | Yes | *68.0004 | *69.0082
71.0605 | 5.6899 | 963 | 0.014277 | 0.005556 | 12789.9787 | 0 | Yes | *70.0527 | *71.0605
83.0232 | 1.3201 | 350 | 0.011574 | 0.0025303 | 32811.746 | 0 | Yes | *82.0154 | *83.0232
85.0759 | 2.3614 | 350 | 0.02213 | 0.0057122 | 14893.6987 | 0 | Yes | *84.0681 | *85.0759
96.0552 | 10.0263 | 1753 | 0.020749 | 0.0050597 | 18984.197 | 0 | Yes | *95.0474 | *96.0552
97.0394 | 3.4904 | 581 | 0.018074 | 0.0051171 | 18963.581 | 0 | Yes | *96.0316 | *97.0394
100.0503 | 21.7155 | 3645 | 0.023999 | 0.0056101 | 17834.0179 | 0 | Yes | *99.0425 | *100.0503
114.0659 | 5.8168 | 951 | 0.018088 | 0.0055106 | 20699.4683 | 0 | Yes | *113.0581 | *114.0659
124.0863 | 11.7086 | 1962 | 0.02201 | 0.0048904 | 25373.2665 | 0 | Yes | *123.0785 | *124.0863
128.0811 | 13.7341 | 2337 | 0.022362 | 0.0047793 | 26799.3135 | 0 | Yes | *127.0733 | *128.0811
142.0712 | 1.3643 | 270 | 0.016823 | 0.002726 | 52116.5438 | 0 | Yes | *141.0634 | *142.0712
166.108 | 1.3624 | 207 | 0.016371 | 0.0060353 | 27522.7397 | 0 | Yes | *165.1002 | *166.1080
170.1032 | 5.212 | 759 | 0.027611 | 0.0060475 | 28127.6261 | 0 | Yes | *169.0954 | *170.1032
198.1352 | 27.4362 | 3252 | 0.033772 | 0.0077921 | 25427.6837 | 0 | Yes | *197.1274 | *198.1352

## pos_86_Atrazin-2-hydroxy
Mass/Charge | Area | Height | Width | Width at 50% | Resolution | Charge | Monoisotopic | Mass (charge) | Mass/charge (charge)
43.0309 | 1.9984 | 477 | 0.012962 | 0.0028722 | 14982.0765 | 0 | Yes | *42.0230 | *43.0309
69.0089 | 13.983 | 2699 | 0.021104 | 0.0045308 | 15231.0579 | 0 | Yes | *68.0010 | *69.0089
71.0606 | 1.8673 | 358 | 0.013087 | 0.0042291 | 16802.6802 | 0 | Yes | *70.0527 | *71.0606
86.0349 | 18.7475 | 3409 | 0.020946 | 0.0048945 | 17577.8411 | 0 | Yes | *85.0270 | *86.0349
97.0395 | 9.0835 | 1681 | 0.019464 | 0.0041738 | 23249.456 | 0 | Yes | *96.0316 | *97.0395
113.0808 | 1.0063 | 226 | 0.012007 | 0.0039481 | 28641.5354 | 0 | Yes | *112.0729 | *113.0808
114.0657 | 17.7278 | 2945 | 0.02261 | 0.005297 | 21534.0874 | 0 | Yes | *113.0579 | *114.0657
128.056 | 1.8894 | 263 | 0.015971 | 0.0066501 | 19256.2963 | 0 | Yes | *127.0482 | *128.0560
128.0817 | 1.642 | 223 | 0.020765 | 0.006389 | 20047.0916 | 0 | Yes | *127.0739 | *128.0817
156.0877 | 29.0806 | 4458 | 0.031739 | 0.0058344 | 26753.0134 | 0 | Yes | *155.0799 | *156.0877
198.1343 | 15.0367 | 1759 | 0.041719 | 0.007149 | 27714.9118 | 0 | Yes | *197.1265 | *198.1343

## pos_91_Desethylterbutylazin
Mass/Charge | Area | Height | Width | Width at 50% | Resolution | Charge | Monoisotopic | Mass (charge) | Mass/charge (charge)
43.0318 | 3.115 | 552 | 0.018517 | 0.0037331 | 11527.1772 | 0 | Yes | *42.0239 | *43.0318
61.9806 | 1.6489 | 436 | 0.011111 | 0.0036007 | 17213.6864 | 0 | Yes | *60.9728 | *61.9806
68.0256 | 4.9588 | 963 | 0.016297 | 0.0036998 | 18386.4996 | 0 | Yes | *67.0178 | *68.0256
79.0066 | 7.3851 | 1576 | 0.015054 | 0.0045408 | 17399.1253 | 0 | Yes | *77.9988 | *79.0066
104.0015 | 15.987 | 2836 | 0.02159 | 0.0052928 | 19649.7573 | 0 | Yes | *102.9936 | *104.0015
110.0466 | 5.7053 | 1238 | 0.025169 | 0.0038152 | 28844.2428 | 0 | Yes | *109.0388 | *110.0466
146.0233 | 42.913 | 7229 | 0.037521 | 0.0052308 | 27915.8542 | 0 | Yes | *145.0155 | *146.0233