## Tabelle1
# | Name | Formula | Include | Mass (Da) | Found At Mass (Da) | Control Found At Mass (Da) | Width (Da) | Adduct | Expected RT (min) | RT Width (min) | Found At RT (min) | Control Found At RT (min) | Library Score | Library Hit | Formula Finder Result | Intensity | Control Intensity | Known Concentration | Calculated Concentration | Area | Control Area | Isotope | Threshold (cps) | Threshold (ratio of control) | Formula Finder Score | Int Std | Combined Score | Mass Error Score | RT Score | Isotope Score | Non-Targeted Peak | S:N | Fragment Mass (Da) | Comments | Extraction Mass (Da) | Error (ppm) | Control Error (ppm) | Error (mDa) | Control Error (mDa) | RT Delta (min) | Control RT Delta (min) | RT % Error | Control RT % Error
29 | Amantadin | C10H17N | True | 151.1361 | 152.1433 |  | 0.005 | #NAME? | 5 | 0.8 | 5.0806 |  | -1 |  | C10H17N | 134200.4101 |  | 5 |  | 7275.6873 |  | 0 | 50 | 0 | 0.8582 | False | 0.92999 | 0.9276 | 0.8389 | 0.99471 | False | 261.7771 |  | 797 | 152.1434 | -0.72401 |  | -0.11015 |  | 0.080551 |  | 0.01611
85 | Simeton | C8H15N5O1 | True | 197.1277 | 198.1351 |  | 0.005 | #NAME? | 5.5 | 0.5 | 5.4804 |  | -1 |  | C8H15N5O | 619454.8203 |  | 5 |  | 45084.8376 |  | 0 | 50 | 0 | 0.77132 | False | 0.92951 | 0.92922 | 0.96434 | 0.90676 | False | 342.7118 |  | 203 | 198.1349 | 0.70779 |  | 0.14024 |  | 0.019613 |  | 0.0035661
86 | Atrazine-2-hydroxy | C8H15N5O | True | 197.1277 | 198.1351 |  | 0.005 | #NAME? | 4.9 | 0.8 | 4.9837 |  | -1 |  | C8H15N5O | 490171.5232 |  | 5 |  | 24601.9745 |  | 0 | 50 | 0 | 0.74167 | False | 0.89986 | 0.89946 | 0.82924 | 0.9476 | False | 403.9969 |  | 281 | 198.1349 | 1.0054 |  | 0.19921 |  | 0.083674 |  | 0.017076
91 | Desethylterbutylazin | C7H12ClN5 | True | 201.0781 | 202.086 |  | 0.005 | #NAME? | 8.6 | 0.2 | 8.534 |  | -1 |  | C7H12ClN5 | 247770.4201 |  | 5 |  | 9047.6123 |  | 0 | 50 | 0 | 0.42651 | False | 0.81717 | 0.70461 | 0.92324 | 0.93406 | False | 38.5914 |  | 16 | 202.0854 | 2.9539 |  | 0.59693 |  | 0.066013 |  | 0.007676
92 | Simazine | C7H12ClN5 | True | 201.0781 | 202.0858 |  | 0.005 | #NAME? | 8.4 | 0.2 | 8.3566 |  | -1 |  | C7H12ClN5 | 387196.7485 |  | 5 |  | 26856.4359 |  | 0 | 50 | 0 | 0.47207 | False | 0.86984 | 0.79993 | 0.94839 | 0.93398 | False | 20.1313 |  | 54 | 202.0854 | 2.0007 |  | 0.40431 |  | 0.043352 |  | 0.005161
124 | Atrazine | C8H14Cl1N5 | True | 215.0938 | 216.1016 |  | 0.005 | #NAME? | 9.7 | 0.8 | 9.7193 |  | -1 |  | C8H14ClN5 | 555082.8343 |  | 5 |  | 44597.8438 |  | 0 | 50 | 0 | 0.65553 | False | 0.84951 | 0.7404 | 0.98009 | 0.9443 | False | 1298.692 |  | 4 | 216.101 | 2.596 |  | 0.561 |  | 0.019312 |  | 0.0019909
132 | Chloridazon | C10H8ClN3O | True | 221.0356 | 222.0427 |  | 0.005 | #NAME? | 6.5 | 0.8 | 6.4715 |  | -1 |  | C10H8ClN3O | 149631.6577 |  | 5 |  | 11116.0293 |  | 0 | 50 | 0 | 0.8494 | False | 0.94007 | 0.94163 | 0.95621 | 0.92671 | False | 1402.0367 |  | 138 | 222.0429 | -0.58369 |  | -0.1296 |  | 0.028464 |  | 0.0043791
139 | Methiocarb | C11H15NO2S | True | 225.0824 | 226.0898 |  | 0.005 | #NAME? | 11.2 | 0.8 | 11.1805 |  | -1 |  | C11H15NO2S | 48895.5168 |  | 5 |  | 3522.1983 |  | 0 | 50 | 0 | 0.81236 | False | 0.92869 | 0.92521 | 0.98254 | 0.8986 | False | 275.3248 |  | 447 | 226.0896 | 0.74794 |  | 0.1691 |  | 0.01955 |  | 0.0017455
155 | Diuron | C9H10Cl2N2O | True | 232.017 | 233.0246 |  | 0.005 | #NAME? | 9.9 | 0.8 | 9.8613 |  | -1 |  | C9H10Cl2N2O | 99394.5892 |  | 5 |  | 7616.7416 |  | 0 | 50 | 0 | 0.44148 | False | 0.9014 | 0.88296 | 0.9609 | 0.89244 | False | 683.7103 |  | 25 | 233.0243 | 1.1704 |  | 0.27272 |  | 0.038705 |  | 0.0039096
185 | Pindolol | C14H20N2O2 | True | 248.1525 | 249.16 |  | 0.005 | #NAME? | 5 | 0.8 | 5.0242 |  | -1 |  | C14H20N2O2 | 224312.6589 |  | 5 |  | 14513.5078 |  | 0 | 50 | 0 | 0.80911 | False | 0.92522 | 0.90038 | 0.95159 | 0.94903 | False | 1687.5198 |  | 722 | 249.1598 | 0.99621 |  | 0.24821 |  | 0.024206 |  | 0.0048411
198 | Sulfamethoxazole | C10H11N3O3S | True | 253.0521 | 254.0598 |  | 0.005 | #NAME? | 6.8 | 0.8 | 6.7881 |  | -1 |  | C10H11N3O3S | 96977.4117 |  | 5 |  | 7219.5004 |  | 0 | 50 | 0 | 0.69684 | False | 0.90846 | 0.82689 | 0.98244 | 0.99508 | False | 253.9168 |  | 133 | 254.0594 | 1.7311 |  | 0.4398 |  | 0.011938 |  | 0.0017555
218 | Tramadol | C16H25NO2 | True | 263.1885 | 264.1967 |  | 0.005 | #NAME? | 5.6 | 0.8 | 5.6173 |  | -1 |  | C16H25NO2 | 498956.8749 |  | 5 |  | 39912.9988 |  | 0 | 50 | 0 | 0.33713 | False | 0.82633 | 0.67427 | 0.96906 | 0.9846 | False | 2161.0068 |  | 957 | 264.1958 | 3.2573 |  | 0.86057 |  | 0.017329 |  | 0.0030944
229 | Metoprolol | C15H25NO3 | True | 267.1834 | 268.1915 |  | 0.005 | #NAME? | 5.6 | 0.8 | 5.573 |  | -1 |  | C15H25NO3 | 367382.5516 |  | 5 |  | 29982.9325 |  | 0 | 50 | 0 | 0.67964 | False | 0.84959 | 0.72583 | 0.95176 | 0.98773 | False | 212.3197 |  | 130 | 268.1907 | 2.7417 |  | 0.73529 |  | 0.027013 |  | 0.0048237

## calibration
substance name | rt1 | rt2 | rt3 | logD
Metformin |  |  |  | -1.36
Chloridazon |  |  |  | 1.11
Carbetamide |  |  |  | 1.65
Monuron |  |  |  | 1.93
Metobromuron |  |  |  | 2.24
Chlorbromuron |  |  |  | 2.85
Metconazole |  |  |  | 3.59
Diazinon |  |  |  | 4.19
Quinoxyfen |  |  |  | 4.98
Fenofibrate |  |  |  | 5.28