## Export pos
# | Name | Formula | Include | Mass (Da) | Found At Mass (Da) | Control Found At Mass (Da) | Width (Da) | Adduct | Expected RT (min) | RT Width (min) | Found At RT (min) | Control Found At RT (min) | Library Score | Library Hit | Formula Finder Result | Intensity | Control Intensity | Known Concentration | Calculated Concentration | Area | Control Area | Isotope | Threshold (cps) | Threshold (ratio of control) | Formula Finder Score | Int Std | Combined Score | Mass Error Score | RT Score | Isotope Score | Non-Targeted Peak | S:N | Fragment Mass (Da) | Comments | Extraction Mass (Da) | Error (ppm) | Control Error (ppm) | Error (mDa) | Control Error (mDa) | RT Delta (min) | Control RT Delta (min) | RT % Error | Control RT % Error | MS/MS Sheet
29 | Amantadin | C10H17N | True | 151.1361 | 152.1433 |  | 0.005 | +H | 5 | 0.8 | 5.0806 |  | -1 |  | C10H17N | 134200.4101 |  | 5 |  | 7275.6873 |  | 0 | 50 | 0 | 0.8582 | False | 0.92999 | 0.9276 | 0.8389 | 0.99471 | False | 261.7771 |  | 797 | 152.1434 | -0.72401 |  | -0.11015 |  | 0.080551 |  | 0.01611 |  | pos_29_Amantadin
85 | Simeton | C8H15N5O1 | True | 197.1277 | 198.1351 |  | 0.005 | +H | 5.5 | 0.5 | 5.4804 |  | -1 |  | C8H15N5O | 619454.8203 |  | 5 |  | 45084.8376 |  | 0 | 50 | 0 | 0.77132 | False | 0.92951 | 0.92922 | 0.96434 | 0.90676 | False | 342.7118 |  | 203 | 198.1349 | 0.70779 |  | 0.14024 |  | 0.019613 |  | 0.0035661 |  | pos_85_Simeton
86 | Atrazine-2-hydroxy | C8H15N5O | True | 197.1277 | 198.1351 |  | 0.005 | +H | 4.9 | 0.8 | 4.9837 |  | -1 |  | C8H15N5O | 490171.5232 |  | 5 |  | 24601.9745 |  | 0 | 50 | 0 | 0.74167 | False | 0.89986 | 0.89946 | 0.82924 | 0.9476 | False | 403.9969 |  | 281 | 198.1349 | 1.0054 |  | 0.19921 |  | 0.083674 |  | 0.017076 |  | pos_86_Atrazin-2-hydroxy
91 | Desethylterbutylazin | C7H12ClN5 | True | 201.0781 | 202.086 |  | 0.005 | +H | 8.6 | 0.2 | 8.534 |  | -1 |  | C7H12ClN5 | 247770.4201 |  | 5 |  | 9047.6123 |  | 0 | 50 | 0 | 0.42651 | False | 0.81717 | 0.70461 | 0.92324 | 0.93406 | False | 38.5914 |  | 16 | 202.0854 | 2.9539 |  | 0.59693 |  | 0.066013 |  | 0.007676 |  | pos_91_Desethylterbutylazin
92 | Simazine | C7H12ClN5 | True | 201.0781 | 202.0858 |  | 0.005 | +H | 8.4 | 0.2 | 8.3566 |  | -1 |  | C7H12ClN5 | 387196.7485 |  | 5 |  | 26856.4359 |  | 0 | 50 | 0 | 0.47207 | False | 0.86984 | 0.79993 | 0.94839 | 0.93398 | False | 20.1313 |  | 54 | 202.0854 | 2.0007 |  | 0.40431 |  | 0.043352 |  | 0.005161 |  | pos_92_Simazin
124 | Atrazine | C8H14Cl1N5 | True | 215.0938 | 216.1016 |  | 0.005 | +H | 9.7 | 0.8 | 9.7193 |  | -1 |  | C8H14ClN5 | 555082.8343 |  | 5 |  | 44597.8438 |  | 0 | 50 | 0 | 0.65553 | False | 0.84951 | 0.7404 | 0.98009 | 0.9443 | False | 1298.692 |  | 4 | 216.101 | 2.596 |  | 0.561 |  | 0.019312 |  | 0.0019909 |  | pos_124_Atrazin
132 | Chloridazon | C10H8ClN3O | True | 221.0356 | 222.0427 |  | 0.005 | +H | 6.5 | 0.8 | 6.4715 |  | -1 |  | C10H8ClN3O | 149631.6577 |  | 5 |  | 11116.0293 |  | 0 | 50 | 0 | 0.8494 | False | 0.94007 | 0.94163 | 0.95621 | 0.92671 | False | 1402.0367 |  | 138 | 222.0429 | -0.58369 |  | -0.1296 |  | 0.028464 |  | 0.0043791 |  | pos_132_Chloridazon
139 | Methiocarb | C11H15NO2S | True | 225.0824 | 226.0898 |  | 0.005 | +H | 11.2 | 0.8 | 11.1805 |  | -1 |  | C11H15NO2S | 48895.5168 |  | 5 |  | 3522.1983 |  | 0 | 50 | 0 | 0.81236 | False | 0.92869 | 0.92521 | 0.98254 | 0.8986 | False | 275.3248 |  | 447 | 226.0896 | 0.74794 |  | 0.1691 |  | 0.01955 |  | 0.0017455 |  | pos_139_Methiocarb
155 | Diuron | C9H10Cl2N2O | True | 232.017 | 233.0246 |  | 0.005 | +H | 9.9 | 0.8 | 9.8613 |  | -1 |  | C9H10Cl2N2O | 99394.5892 |  | 5 |  | 7616.7416 |  | 0 | 50 | 0 | 0.44148 | False | 0.9014 | 0.88296 | 0.9609 | 0.89244 | False | 683.7103 |  | 25 | 233.0243 | 1.1704 |  | 0.27272 |  | 0.038705 |  | 0.0039096 |  | pos_155_Diuron
185 | Pindolol | C14H20N2O2 | True | 248.1525 | 249.16 |  | 0.005 | +H | 5 | 0.8 | 5.0242 |  | -1 |  | C14H20N2O2 | 224312.6589 |  | 5 |  | 14513.5078 |  | 0 | 50 | 0 | 0.80911 | False | 0.92522 | 0.90038 | 0.95159 | 0.94903 | False | 1687.5198 |  | 722 | 249.1598 | 0.99621 |  | 0.24821 |  | 0.024206 |  | 0.0048411 |  | pos_185_Pindolol
198 | Sulfamethoxazole | C10H11N3O3S | True | 253.0521 | 254.0598 |  | 0.005 | +H | 6.8 | 0.8 | 6.7881 |  | -1 |  | C10H11N3O3S | 96977.4117 |  | 5 |  | 7219.5004 |  | 0 | 50 | 0 | 0.69684 | False | 0.90846 | 0.82689 | 0.98244 | 0.99508 | False | 253.9168 |  | 133 | 254.0594 | 1.7311 |  | 0.4398 |  | 0.011938 |  | 0.0017555 |  | pos_198_Sulfamethoxazol
218 | Tramadol | C16H25NO2 | True | 263.1885 | 264.1967 |  | 0.005 | +H | 5.6 | 0.8 | 5.6173 |  | -1 |  | C16H25NO2 | 498956.8749 |  | 5 |  | 39912.9988 |  | 0 | 50 | 0 | 0.33713 | False | 0.82633 | 0.67427 | 0.96906 | 0.9846 | False | 2161.0068 |  | 957 | 264.1958 | 3.2573 |  | 0.86057 |  | 0.017329 |  | 0.0030944 |  | pos_218_Tramadol
227 | Metoprololsäure | C14H21NO4 | True | 267.1471 | 268.1547 |  | 0.005 | +H | 4.8 | 0.8 | 4.7797 |  | -1 |  | C14H21NO4 | 213080.2692 |  | 5 |  | 12497.6249 |  | 0 | 50 | 0 | 0.7249 | False | 0.90948 | 0.85852 | 0.95772 | 0.96226 | False | 1164.2455 |  | 236 | 268.1543 | 1.4148 |  | 0.3794 |  | 0.020294 |  | 0.004228 |  | pos_227_Metoprololsäure
229 | Metoprolol | C15H25NO3 | True | 267.1834 | 268.1915 |  | 0.005 | +H | 5.6 | 0.8 | 5.573 |  | -1 |  | C15H25NO3 | 367382.5516 |  | 5 |  | 29982.9325 |  | 0 | 50 | 0 | 0.67964 | False | 0.84959 | 0.72583 | 0.95176 | 0.98773 | False | 212.3197 |  | 130 | 268.1907 | 2.7417 |  | 0.73529 |  | 0.027013 |  | 0.0048237 |  | pos_229_Metoprolol

## calibration
substance name | rt1 | logD
Metformin | 1.29 | -0.92
Chloridazon | 6.46 | 1.11
Carbetamide | 7.85 | 1.65
Monuron | 8.3 | 1.93
Chlorbromuron | 11.7 | 2.85
Metconazole | 12.7 | 3.59
Diazinon | 14.19 | 4.19
Quinoxyfen | 15 | 4.98
Fenofibrate | 15.94 | 5.28
Metobromuron | 10.26 | 2.24
Dapson | 6.33 | 1.27
Linuron | 11.42 | 2.3

## txt files pos
MS/MS .txt-File | Found At Mass (Da) | Found At RT (min) | Formula Finder Result
pos_29_Amantadin | 152.1433 | 5.0806 | C10H17N
pos_85_Simeton | 198.1351 | 5.4804 | C8H15N5O
pos_86_Atrazine-2-hydroxy | 198.1351 | 4.9837 | C8H15N5O
pos_91_Desethylterbutylazin | 202.086 | 8.534 | C7H12ClN5
pos_92_Simazine | 202.0858 | 8.3566 | C7H12ClN5
pos_124_Atrazine | 216.1016 | 9.7193 | C8H14ClN5
pos_132_Chloridazon | 222.0427 | 6.4715 | C10H8ClN3O
pos_139_Methiocarb | 226.0898 | 11.1805 | C11H15NO2S
pos_155_Diuron | 233.0246 | 9.8613 | C9H10Cl2N2O
pos_185_Pindolol | 249.16 | 5.0242 | C14H20N2O2
pos_198_Sulfamethoxazole | 254.0598 | 6.7881 | C10H11N3O3S
pos_218_Tramadol | 264.1967 | 5.6173 | C16H25NO2
pos_227_Metoprololsäure | 268.1547 | 4.7797 | C14H21NO4
pos_229_Metoprolol | 268.1915 | 5.573 | C15H25NO3

## Bsp-MSMS
Mass/Charge | Area | Height | Width | Width at 50% | Resolution | Charge | Monoisotopic | Mass (charge) | Mass/charge (charge) | Height normiert
43.0309 | 1.9984 | 477 | 0.012962 | 0.0028722 | 14982.0765 | 0 | Yes | *42.0230 | *43.0309 | 10.6999
69.0089 | 13.983 | 2699 | 0.021104 | 0.0045308 | 15231.0579 | 0 | Yes | *68.0010 | *69.0089 | 60.5428
71.0606 | 1.8673 | 358 | 0.013087 | 0.0042291 | 16802.6802 | 0 | Yes | *70.0527 | *71.0606 | 8.0305
86.0349 | 18.7475 | 3409 | 0.020946 | 0.0048945 | 17577.8411 | 0 | Yes | *85.0270 | *86.0349 | 76.4693
97.0395 | 9.0835 | 1681 | 0.019464 | 0.0041738 | 23249.456 | 0 | Yes | *96.0316 | *97.0395 | 37.7075
113.0808 | 1.0063 | 226 | 0.012007 | 0.0039481 | 28641.5354 | 0 | Yes | *112.0729 | *113.0808 | 5.0695
114.0657 | 17.7278 | 2945 | 0.02261 | 0.005297 | 21534.0874 | 0 | Yes | *113.0579 | *114.0657 | 66.061
128.056 | 1.8894 | 263 | 0.015971 | 0.0066501 | 19256.2963 | 0 | Yes | *127.0482 | *128.0560 | 5.8995
128.0817 | 1.642 | 223 | 0.020765 | 0.006389 | 20047.0916 | 0 | Yes | *127.0739 | *128.0817 | 5.0022
156.0877 | 29.0806 | 4458 | 0.031739 | 0.0058344 | 26753.0134 | 0 | Yes | *155.0799 | *156.0877 | 100
198.1343 | 15.0367 | 1759 | 0.041719 | 0.007149 | 27714.9118 | 0 | Yes | *197.1265 | *198.1343 | 39.4572
diese müssten noch aus den intensivsten Massepeak normiert werden, falls MetFrag so nichts damit anfangen kann.
Beispiel siehe Spate L

## pos_29_Amantadin
Mass/Charge | Area | Height | Width | Width at 50% | Resolution | Charge | Monoisotopic | Mass (charge) | Mass/charge (charge)
67.0546 | 1.9069 | 361 | 0.012713 | 0.0046988 | 14270.7204 | 0 | Yes | *66.0468 | *67.0546
77.0389 | 6.7209 | 1240 | 0.014865 | 0.0049415 | 15590.0941 | 1 | Yes | *76.0311 (1) | *77.0389 (1)
79.0543 | 7.7676 | 1492 | 0.015059 | 0.0049669 | 15916.2052 | 0 | Yes | *78.0465 | *79.0543
81.07 | 2.9621 | 552 | 0.01652 | 0.0051179 | 15840.62 | 0 | Yes | *80.0622 | *81.0700
91.054 | 4.8644 | 842 | 0.020201 | 0.0050417 | 18060.2196 | 1 | Yes | *90.0462 (1) | *91.0540 (1)
93.0698 | 11.1635 | 1875 | 0.017701 | 0.0055822 | 16672.7221 | 1 | Yes | *92.0620 (1) | *93.0698 (1)
107.0852 | 7.374 | 1026 | 0.018986 | 0.006661 | 16076.4616 | 0 | Yes | *106.0773 | *107.0852
135.1166 | 41.5665 | 6993 | 0.02789 | 0.0053969 | 25036.0828 | 0 | Yes | *134.1087 | *135.1166

## pos_85_Simeton
Mass/Charge | Area | Height | Width | Width at 50% | Resolution | Charge | Monoisotopic | Mass (charge) | Mass/charge (charge)
43.0314 | 4.7416 | 762 | 0.01574 | 0.0063664 | 6759.1161 | 0 | Yes | *42.0235 | *43.0314
57.0455 | 4.144 | 793 | 0.01599 | 0.0040834 | 13970.0436 | 0 | Yes | *56.0376 | *57.0455
58.0297 | 2.4921 | 428 | 0.011827 | 0.0058181 | 9973.9461 | 0 | Yes | *57.0219 | *58.0297
68.0247 | 12.8824 | 2534 | 0.022117 | 0.00441 | 15425.126 | 0 | Yes | *67.0168 | *68.0247
69.0082 | 3.7101 | 769 | 0.014069 | 0.0041585 | 16594.5984 | 0 | Yes | *68.0004 | *69.0082
71.0605 | 5.6899 | 963 | 0.014277 | 0.005556 | 12789.9787 | 0 | Yes | *70.0527 | *71.0605
83.0232 | 1.3201 | 350 | 0.011574 | 0.0025303 | 32811.746 | 0 | Yes | *82.0154 | *83.0232
85.0759 | 2.3614 | 350 | 0.02213 | 0.0057122 | 14893.6987 | 0 | Yes | *84.0681 | *85.0759
96.0552 | 10.0263 | 1753 | 0.020749 | 0.0050597 | 18984.197 | 0 | Yes | *95.0474 | *96.0552
97.0394 | 3.4904 | 581 | 0.018074 | 0.0051171 | 18963.581 | 0 | Yes | *96.0316 | *97.0394
100.0503 | 21.7155 | 3645 | 0.023999 | 0.0056101 | 17834.0179 | 0 | Yes | *99.0425 | *100.0503
114.0659 | 5.8168 | 951 | 0.018088 | 0.0055106 | 20699.4683 | 0 | Yes | *113.0581 | *114.0659
124.0863 | 11.7086 | 1962 | 0.02201 | 0.0048904 | 25373.2665 | 0 | Yes | *123.0785 | *124.0863
128.0811 | 13.7341 | 2337 | 0.022362 | 0.0047793 | 26799.3135 | 0 | Yes | *127.0733 | *128.0811
142.0712 | 1.3643 | 270 | 0.016823 | 0.002726 | 52116.5438 | 0 | Yes | *141.0634 | *142.0712
166.108 | 1.3624 | 207 | 0.016371 | 0.0060353 | 27522.7397 | 0 | Yes | *165.1002 | *166.1080
170.1032 | 5.212 | 759 | 0.027611 | 0.0060475 | 28127.6261 | 0 | Yes | *169.0954 | *170.1032
198.1352 | 27.4362 | 3252 | 0.033772 | 0.0077921 | 25427.6837 | 0 | Yes | *197.1274 | *198.1352

## pos_86_Atrazin-2-hydroxy
Mass/Charge | Area | Height | Width | Width at 50% | Resolution | Charge | Monoisotopic | Mass (charge) | Mass/charge (charge)
43.0309 | 1.9984 | 477 | 0.012962 | 0.0028722 | 14982.0765 | 0 | Yes | *42.0230 | *43.0309
69.0089 | 13.983 | 2699 | 0.021104 | 0.0045308 | 15231.0579 | 0 | Yes | *68.0010 | *69.0089
71.0606 | 1.8673 | 358 | 0.013087 | 0.0042291 | 16802.6802 | 0 | Yes | *70.0527 | *71.0606
86.0349 | 18.7475 | 3409 | 0.020946 | 0.0048945 | 17577.8411 | 0 | Yes | *85.0270 | *86.0349
97.0395 | 9.0835 | 1681 | 0.019464 | 0.0041738 | 23249.456 | 0 | Yes | *96.0316 | *97.0395
113.0808 | 1.0063 | 226 | 0.012007 | 0.0039481 | 28641.5354 | 0 | Yes | *112.0729 | *113.0808
114.0657 | 17.7278 | 2945 | 0.02261 | 0.005297 | 21534.0874 | 0 | Yes | *113.0579 | *114.0657
128.056 | 1.8894 | 263 | 0.015971 | 0.0066501 | 19256.2963 | 0 | Yes | *127.0482 | *128.0560
128.0817 | 1.642 | 223 | 0.020765 | 0.006389 | 20047.0916 | 0 | Yes | *127.0739 | *128.0817
156.0877 | 29.0806 | 4458 | 0.031739 | 0.0058344 | 26753.0134 | 0 | Yes | *155.0799 | *156.0877
198.1343 | 15.0367 | 1759 | 0.041719 | 0.007149 | 27714.9118 | 0 | Yes | *197.1265 | *198.1343

## pos_91_Desethylterbutylazin
Mass/Charge | Area | Height | Width | Width at 50% | Resolution | Charge | Monoisotopic | Mass (charge) | Mass/charge (charge)
43.0318 | 3.115 | 552 | 0.018517 | 0.0037331 | 11527.1772 | 0 | Yes | *42.0239 | *43.0318
61.9806 | 1.6489 | 436 | 0.011111 | 0.0036007 | 17213.6864 | 0 | Yes | *60.9728 | *61.9806
68.0256 | 4.9588 | 963 | 0.016297 | 0.0036998 | 18386.4996 | 0 | Yes | *67.0178 | *68.0256
79.0066 | 7.3851 | 1576 | 0.015054 | 0.0045408 | 17399.1253 | 0 | Yes | *77.9988 | *79.0066
104.0015 | 15.987 | 2836 | 0.02159 | 0.0052928 | 19649.7573 | 0 | Yes | *102.9936 | *104.0015
110.0466 | 5.7053 | 1238 | 0.025169 | 0.0038152 | 28844.2428 | 0 | Yes | *109.0388 | *110.0466
146.0233 | 42.913 | 7229 | 0.037521 | 0.0052308 | 27915.8542 | 0 | Yes | *145.0155 | *146.0233

## pos_92_Simazin
Mass/Charge | Area | Height | Width | Width at 50% | Resolution | Charge | Monoisotopic | Mass (charge) | Mass/charge (charge)
43.0318 | 5.8022 | 1068 | 0.017591 | 0.0041608 | 10342.261 | 0 | Yes | *42.0240 | *43.0318
61.9805 | 3.0145 | 646 | 0.014445 | 0.003874 | 15999.1087 | 0 | Yes | *60.9726 | *61.9805
68.0255 | 10.7441 | 2059 | 0.012805 | 0.0049231 | 13817.6152 | 0 | Yes | *67.0177 | *68.0255
71.0614 | 4.5483 | 875 | 0.013087 | 0.0040347 | 17612.7524 | 0 | Yes | *70.0536 | *71.0614
96.0557 | 10.5194 | 1792 | 0.019366 | 0.0051102 | 18797.039 | 0 | Yes | *95.0479 | *96.0557
104.001 | 21.2606 | 3512 | 0.023029 | 0.0053865 | 19307.7724 | 0 | Yes | *102.9931 | *104.0010
124.0872 | 10.1553 | 1391 | 0.018866 | 0.0066311 | 18712.9419 | 0 | Yes | *123.0794 | *124.0872
132.032 | 14.5905 | 2678 | 0.024326 | 0.0046088 | 28647.9734 | 0 | Yes | *131.0242 | *132.0320
166.1087 | 2.9658 | 398 | 0.016371 | 0.0065096 | 25517.3632 | 0 | Yes | *165.1009 | *166.1087
174.0539 | 4.1978 | 565 | 0.022344 | 0.0060563 | 28739.2554 | 0 | Yes | *173.0461 | *174.0539
202.0856 | 18.9928 | 2108 | 0.028089 | 0.0078195 | 25843.6866 | 0 | Yes | *201.0778 | *202.0856

## pos_124_Atrazin
Mass/Charge | Area | Height | Width | Width at 50% | Resolution | Charge | Monoisotopic | Mass (charge) | Mass/charge (charge)
43.0316 | 4.3218 | 756 | 0.012962 | 0.0052155 | 8250.6408 | 0 | Yes | *42.0237 | *43.0316
61.9807 | 2.3623 | 412 | 0.014445 | 0.0055327 | 11202.6542 | 0 | Yes | *60.9729 | *61.9807
68.0251 | 12.5559 | 2762 | 0.018625 | 0.0037325 | 18225.022 | 0 | Yes | *67.0173 | *68.0251
71.0612 | 3.2973 | 615 | 0.014277 | 0.0047768 | 14876.4614 | 0 | Yes | *70.0534 | *71.0612
79.0064 | 9.1401 | 1679 | 0.017563 | 0.0048701 | 16222.5925 | 0 | Yes | *77.9986 | *79.0064
96.0556 | 14.7307 | 2608 | 0.022132 | 0.0051357 | 18703.5195 | 0 | Yes | *95.0478 | *96.0556
104.001 | 29.9482 | 4860 | 0.02015 | 0.005241 | 19843.7975 | 0 | Yes | *102.9931 | *104.0010
110.0464 | 2.8915 | 557 | 0.022209 | 0.0036272 | 30339.4675 | 0 | Yes | *109.0386 | *110.0464
132.032 | 14.1096 | 1965 | 0.027569 | 0.0066398 | 19884.9988 | 0 | Yes | *131.0241 | *132.0320
138.0773 | 3.2853 | 461 | 0.016584 | 0.0061508 | 22448.5011 | 0 | Yes | *137.0695 | *138.0773
146.0227 | 12.646 | 1697 | 0.028993 | 0.0064383 | 22680.2393 | 0 | Yes | *145.0148 | *146.0227
174.054 | 44.6567 | 6400 | 0.03724 | 0.006088 | 28589.5407 | 0 | Yes | *173.0462 | *174.0540
216.1012 | 19.822 | 2249 | 0.037345 | 0.0081043 | 26665.1228 | 0 | Yes | *215.0934 | *216.1012

## pos_229_Metoprolol
Mass/Charge | Area | Height | Width | Width at 50% | Resolution | Charge | Monoisotopic | Mass (charge) | Mass/charge (charge)
56.0506 | 3.4446 | 842 | 0.013737 | 0.0042668 | 13136.4141 | 0 | Yes | *55.0428 | *56.0506
72.0815 | 2.8566 | 609 | 0.014379 | 0.0047867 | 15058.6847 | 0 | Yes | *71.0736 | *72.0815
74.0604 | 3.4409 | 730 | 0.020649 | 0.0038813 | 19081.5434 | 0 | Yes | *73.0526 | *74.0604
91.0541 | 3.4086 | 626 | 0.021549 | 0.0056466 | 16125.3887 | 1 | Yes | *90.0463 (1) | *91.0541 (1)
98.0967 | 3.3073 | 627 | 0.016774 | 0.0049019 | 20011.8858 | 0 | Yes | *97.0889 | *98.0967
103.0542 | 5.1801 | 865 | 0.020058 | 0.0052916 | 19475.1909 | 1 | Yes | *102.0464 (1) | *103.0542 (1)
105.0699 | 4.7039 | 846 | 0.018807 | 0.0047503 | 22118.4725 | 0 | Yes | *104.0621 | *105.0699
116.1067 | 5.8595 | 944 | 0.021291 | 0.0058939 | 19699.5355 | 0 | Yes | *115.0989 | *116.1067
121.0647 | 7.4228 | 1242 | 0.018635 | 0.0055951 | 21637.6742 | 0 | Yes | *120.0569 | *121.0647
133.0645 | 8.4121 | 1487 | 0.024421 | 0.0043985 | 30251.9999 | 0 | Yes | *132.0567 | *133.0645
159.08 | 5.7016 | 812 | 0.023141 | 0.0058719 | 27091.7953 | 0 | Yes | *158.0722 | *159.0800
191.1066 | 3.908 | 543 | 0.033168 | 0.0069603 | 27456.573 | 0 | Yes | *190.0987 | *191.1066
268.1917 | 19.156 | 1909 | 0.03467 | 0.0089936 | 29820.2343 | 0 | Yes | *267.1838 | *268.1917

## pos_227_Metoprololsäure
Mass/Charge | Area | Height | Width | Width at 50% | Resolution | Charge | Monoisotopic | Mass (charge) | Mass/charge (charge)
56.0508 | 2.9279 | 598 | 0.014793 | 0.0044512 | 12592.3219 | 0 | Yes | *55.0430 | *56.0508
72.081 | 1.3828 | 318 | 0.013181 | 0.0036125 | 19953.0142 | 0 | Yes | *71.0732 | *72.0810
74.0607 | 1.1211 | 207 | 0.012146 | 0.0048815 | 15171.8146 | 0 | Yes | *73.0529 | *74.0607
77.0391 | 0.54134 | 127 | 0.0086714 | 0.0047042 | 16376.8406 | 0 | Yes | *76.0313 | *77.0391
79.0543 | 1.3377 | 270 | 0.015059 | 0.0049897 | 15843.6318 | 0 | Yes | *78.0465 | *79.0543
89.0389 | 1.2492 | 191 | 0.011986 | 0.0068622 | 12975.3421 | 0 | Yes | *88.0311 | *89.0389
91.0539 | 2.913 | 497 | 0.017508 | 0.0054436 | 16726.6374 | 0 | Yes | *90.0461 | *91.0539
95.0493 | 0.58066 | 127 | 0.0096318 | 0.0041494 | 22906.75 | 0 | Yes | *94.0414 | *95.0493
98.0957 | 1.3126 | 270 | 0.018172 | 0.0044528 | 22030.1582 | 0 | Yes | *97.0879 | *98.0957
107.0482 | 1.1967 | 239 | 0.018983 | 0.0029272 | 36570.0893 | 0 | Yes | *106.0404 | *107.0482
115.0543 | 1.8923 | 334 | 0.015139 | 0.005791 | 19867.9336 | 1 | Yes | *114.0465 (1) | *115.0543 (1)
116.1065 | 1.6325 | 302 | 0.016729 | 0.0038977 | 29788.5143 | 0 | Yes | *115.0986 | *116.1065
117.0696 | 1.2644 | 207 | 0.012217 | 0.0062059 | 18864.1309 | 0 | Yes | *116.0618 | *117.0696
119.0485 | 1.128 | 159 | 0.013859 | 0.0057226 | 20803.1101 | 0 | Yes | *118.0406 | *119.0485
135.0429 | 0.66588 | 111 | 0.011481 | 0.0057533 | 23472.0964 | 0 | Yes | *134.0350 | *135.0429
137.0585 | 0.92198 | 175 | 0.011566 | 0.0044766 | 30616.6087 | 0 | Yes | *136.0507 | *137.0585
145.0644 | 15.9388 | 2028 | 0.022098 | 0.0069328 | 20924.3979 | 0 | Yes | *144.0566 | *145.0644
163.0505 | 0.98939 | 127 | 0.018022 | 0.0075736 | 21528.6541 | 0 | Yes | *162.0426 | *163.0505
165.0545 | 3.5158 | 497 | 0.025385 | 0.0058349 | 28287.2563 | 0 | Yes | *164.0466 | *165.0545
191.0702 | 6.4623 | 865 | 0.025362 | 0.0063908 | 29897.9087 | 0 | Yes | *190.0624 | *191.0702
226.1078 | 2.1986 | 350 | 0.025467 | 0.0039513 | 57223.0175 | 0 | Yes | *225.1000 | *226.1078
268.155 | 12.375 | 1414 | 0.039289 | 0.0064979 | 41268.1012 | 0 | Yes | *267.1472 | *268.1550

## pos_218_Tramadol
Mass/Charge | Area | Height | Width | Width at 50% | Resolution | Charge | Monoisotopic | Mass (charge) | Mass/charge (charge)
58.0665 | 45.8676 | 9720 | 0.022585 | 0.0041227 | 14084.5792 | 0 | Yes | *57.0587 | *58.0665

## pos_185_Pindolol
Mass/Charge | Area | Height | Width | Width at 50% | Resolution | Charge | Monoisotopic | Mass (charge) | Mass/charge (charge)
56.0504 | 2.4699 | 530 | 0.011623 | 0.0036933 | 15176.113 | 0 | Yes | *55.0426 | *56.0504
58.0662 | 1.104 | 270 | 0.012906 | 0.0035183 | 16504.1301 | 0 | Yes | *57.0584 | *58.0662
72.0811 | 2.073 | 426 | 0.011983 | 0.0043655 | 16511.6111 | 0 | Yes | *71.0732 | *72.0811
74.0605 | 2.4346 | 461 | 0.010931 | 0.005387 | 13748.047 | 0 | Yes | *73.0527 | *74.0605
89.0386 | 0.51007 | 95 | 0.013318 | 0.0060137 | 14806.0076 | 1 | Yes | *88.0308 (1) | *89.0386 (1)
91.0542 | 1.1878 | 286 | 0.010774 | 0.0027433 | 33191.8963 | 0 | Yes | *90.0464 | *91.0542
98.0967 | 1.7906 | 318 | 0.012581 | 0.0056651 | 17316.0152 | 0 | Yes | *97.0888 | *98.0967
100.1122 | 0.6976 | 143 | 0.012709 | 0.00327 | 30615.6275 | 0 | Yes | *99.1043 | *100.1122
104.0485 | 0.48156 | 127 | 0.0071982 | 0.0038415 | 27085.0832 | 1 | Yes | *103.0407 (1) | *104.0485 (1)
106.065 | 0.61338 | 111 | 0.011628 | 0.004406 | 24073.1035 | 0 | Yes | *105.0572 | *106.0650
107.0495 | 0.48772 | 111 | 0.0073012 | 0.0051224 | 20898.1491 | 0 | Yes | *106.0416 | *107.0495
115.0541 | 0.84322 | 159 | 0.012111 | 0.0057977 | 19844.6877 | 1 | Yes | *114.0463 (1) | *115.0541 (1)
116.0495 | 2.2791 | 445 | 0.010643 | 0.0049778 | 23313.2794 | 1 | Yes | *115.0417 (1) | *116.0495 (1)
116.0607 | 0.32842 | 100 | 0.0045614 | 0.0036586 | 31722.3361 | 1 | No | 115.0529 (1) | 116.0607 (1)
116.107 | 11.9859 | 1893 | 0.018249 | 0.0060025 | 19343.0207 | 0 | Yes | *115.0991 | *116.1070
117.0572 | 1.6873 | 304 | 0.010689 | 0.0050241 | 23299.2498 | 1 | No | 116.0494 (1) | 117.0572 (1)
117.069 | 2.0073 | 303 | 0.015271 | 0.0061939 | 18900.8279 | 0 | Yes | *116.0611 | *117.0690
118.0648 | 3.59 | 605 | 0.018403 | 0.0046005 | 25663.6945 | 0 | Yes | *117.0570 | *118.0648
127.0551 | 0.80974 | 127 | 0.0095451 | 0.0084958 | 14955.031 | 1 | Yes | *126.0473 (1) | *127.0551 (1)
130.065 | 0.84664 | 127 | 0.016096 | 0.0052689 | 24685.6239 | 0 | Yes | *129.0572 | *130.0650
132.0429 | 0.73629 | 111 | 0.014596 | 0.006101 | 21642.9551 | 1 | Yes | *131.0351 (1) | *132.0429 (1)
134.0598 | 5.6851 | 802 | 0.01961 | 0.0066599 | 20129.2981 | 0 | Yes | *133.0520 | *134.0598
143.0719 | 1.3758 | 225 | 0.01857 | 0.0039663 | 36071.7751 | 0 | Yes | *142.0640 | *143.0719
144.0805 | 6.773 | 1082 | 0.023718 | 0.0057049 | 25255.7556 | 0 | Yes | *143.0727 | *144.0805
146.0599 | 4.0988 | 596 | 0.022174 | 0.0063201 | 23110.2522 | 0 | Yes | *145.0520 | *146.0599
154.0639 | 0.55882 | 111 | 0.008759 | 0.0056649 | 27196.1 | 0 | Yes | *153.0560 | *154.0639
172.0756 | 5.9262 | 681 | 0.033326 | 0.0078779 | 21842.8186 | 0 | Yes | *171.0678 | *172.0756
249.1609 | 7.7226 | 832 | 0.037872 | 0.0076933 | 32386.6861 | 0 | Yes | *248.1531 | *249.1609

## pos_198_Sulfamethoxazol
Mass/Charge | Area | Height | Width | Width at 50% | Resolution | Charge | Monoisotopic | Mass (charge) | Mass/charge (charge)
65.039 | 2.5069 | 441 | 0.01252 | 0.0054751 | 11879.1134 | 0 | Yes | *64.0312 | *65.0390
80.0497 | 1.5784 | 334 | 0.011365 | 0.0045423 | 17623.3182 | 0 | Yes | *79.0419 | *80.0497
92.0492 | 11.2057 | 2166 | 0.017603 | 0.0044636 | 20622.0814 | 0 | Yes | *91.0414 | *92.0492
93.0571 | 2.2212 | 478 | 0.020422 | 0.0044008 | 21145.6636 | 1 | Yes | *92.0493 (1) | *93.0571 (1)
99.0548 | 1.8457 | 318 | 0.015452 | 0.0054818 | 18069.6977 | 0 | Yes | *98.0470 | *99.0548
108.0438 | 13.371 | 2166 | 0.024939 | 0.0056774 | 19030.5567 | 0 | Yes | *107.0360 | *108.0438
146.0697 | 0.62345 | 159 | 0.0068229 | 0.0044792 | 32610.3887 | 0 | Yes | *145.0619 | *146.0697
147.0787 | 1.1707 | 207 | 0.013693 | 0.0060706 | 24228.1137 | 1 | Yes | *146.0709 (1) | *147.0787 (1)
156.0107 | 7.232 | 1047 | 0.021154 | 0.0048356 | 32263.0326 | 0 | Yes | *155.0029 | *156.0107
160.0863 | 1.4777 | 191 | 0.016071 | 0.0063594 | 25173.0616 | 0 | Yes | *159.0785 | *160.0863

## pos_155_Diuron
Mass/Charge | Area | Height | Width | Width at 50% | Resolution | Charge | Monoisotopic | Mass (charge) | Mass/charge (charge)
46.068 | 1.1366 | 239 | 0.011495 | 0.0043851 | 10505.517 | 0 | Yes | *45.0601 | *46.0680
72.0455 | 7.3009 | 1354 | 0.020365 | 0.0046115 | 15623.0362 | 0 | Yes | *71.0377 | *72.0455
132.961 | 1.0879 | 111 | 0.019529 | 0.0085802 | 15496.3107 | 0 | Yes | *131.9532 | *132.9610
159.9712 | 1.6762 | 270 | 0.016066 | 0.0070095 | 22822.1878 | 0 | Yes | *158.9634 | *159.9712
233.0245 | 1.0147 | 111 | 0.015081 | 0.010817 | 21542.3814 | 0 | Yes | *232.0166 | *233.0245

## pos_132_Chloridazon
Mass/Charge | Area | Height | Width | Width at 50% | Resolution | Charge | Monoisotopic | Mass (charge) | Mass/charge (charge)
65.0397 | 1.8411 | 324 | 0.014797 | 0.0053246 | 12214.8467 | 0 | Yes | *64.0319 | *65.0397
77.0391 | 2.9346 | 723 | 0.011149 | 0.0030805 | 25008.6097 | 0 | Yes | *76.0313 | *77.0391
87.9946 | 0.93998 | 239 | 0.0079435 | 0.0039573 | 22235.8466 | 0 | Yes | *86.9868 | *87.9946
92.0494 | 4.7738 | 865 | 0.017603 | 0.0050196 | 18337.8937 | 1 | Yes | *91.0415 (1) | *92.0494 (1)
93.0568 | 0.51327 | 143 | 0.0095303 | 0.0028103 | 33113.0944 | 1 | No | 92.0490 (1) | 93.0568 (1)
94.065 | 1.2429 | 270 | 0.016426 | 0.0033516 | 28065.3858 | 0 | Yes | *93.0572 | *94.0650
100.9898 | 1.468 | 255 | 0.019856 | 0.0042438 | 23796.753 | 0 | Yes | *99.9820 | *100.9898
104.0495 | 4.5759 | 713 | 0.011517 | 0.0067235 | 15475.4328 | 0 | Yes | *103.0417 | *104.0495
128.9846 | 1.5452 | 255 | 0.014426 | 0.0040042 | 32212.2955 | 0 | Yes | *127.9768 | *128.9846
130.0643 | 0.74524 | 127 | 0.017706 | 0.0036509 | 35625.4337 | 0 | Yes | *129.0565 | *130.0643
146.0115 | 2.1718 | 286 | 0.015349 | 0.0073901 | 19757.8201 | 0 | Yes | *145.0036 | *146.0115
222.0429 | 21.1557 | 2343 | 0.029443 | 0.0075976 | 29225.333 | 0 | Yes | *221.0351 | *222.0429

## pos_139_Methiocarb
Mass/Charge | Area | Height | Width | Width at 50% | Resolution | Charge | Monoisotopic | Mass (charge) | Mass/charge (charge)
77.0395 | 3.2103 | 671 | 0.012388 | 0.0042274 | 18223.7038 | 0 | Yes | *76.0316 | *77.0395
91.0546 | 4.6523 | 785 | 0.016161 | 0.0048945 | 18603.4589 | 1 | Yes | *90.0467 (1) | *91.0546 (1)
93.0701 | 3.6687 | 617 | 0.019062 | 0.005644 | 16490.0632 | 1 | Yes | *92.0623 (1) | *93.0701 (1)
107.0496 | 6.5207 | 1037 | 0.014603 | 0.0061417 | 17429.9767 | 0 | Yes | *106.0418 | *107.0496
121.065 | 20.1193 | 3311 | 0.023294 | 0.0057072 | 21212.6846 | 1 | Yes | *120.0572 (1) | *121.0650 (1)
122.0725 | 9.0473 | 1393 | 0.023391 | 0.0062659 | 19482.155 | 1 | No | 121.0647 (1) | 122.0725 (1)
169.0677 | 3.973 | 573 | 0.022022 | 0.005705 | 29634.8804 | 0 | Yes | *168.0598 | *169.0677
226.1343 | 3.7353 | 589 | 0.023346 | 0.0043704 | 51742.5774 | 0 | Yes | *225.1264 | *226.1343